Product requirements and features :

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ID | Priority | Customer Need | Product requirement |  | SWRS-ID’s |
| PRS 01 |  | App launch | As a user I would like to use the Connect Lite app from the iphone & android phone |  | SR-001 |
| PRS 02 |  | Microscope pairing | As a user I would like to use the Lite app and connect to a Extaro microscope | The user shall be able to launch XXX Connect app and connect to a surgical microscope available in the Wi-Fi network | SR-001,SR-002,SR-003,SR-004,SR-005,SR-006,SR-007 |
| PRS 03 |  | Stream Live image | As a user I would like to view the live stream of the surgical microscope from iphone and android mobiles | The user shall be able to start the live streaming from the connected surgical microscope via the app | SR-008,SR-009,SR-010,SR-011,SR-012,SR-013,SR-014,SR-015 |
| PRS 04 |  | Image and video capture | As a user I would like to to capture images and record videos from the live stream of the surgical microscope from iphone and android mobiles |  | SR-016,SR-017,SR-018,SR-019,SR-020,SR-021,SR-022,SR-023 |
| PRS 05 |  | Cloud login | The user shall be able to configure the  connection to the cloud service and access it from the app | The user shall be able to login to the cloud services with XXX Connect app | SR-001,SR-002,SR-003,SR-004,SR-005,SR-006,SR-007,SR-008 |
| PRS 06 |  | Patient import | The user shall be able to import  patients from ZEISS Surgical Cloud to  the app |  |  |
| PRS 07 |  | iOS Support | Zeiss connect application shall be validated against iphone 13 |  |  |